## Multifamily Checklist
GreenPoint Rated Checklist: Existing Multifamily
The GreenPoint Rated Checklist tracks green features for a unit or building. A project is only GreenPoint Rated if all features are verified by a Certified GreenPoint Rater through Build It Green. To achieve a Whole Building label, a project must have a minimum of 50 points. To achieve an Elements label, a project must have a minimum of 25 points (capped at 49 points). Both labels have minimum point requirements outlined at the end of the checklist. Both labels also have required measures highlighted in the checklist (See Key below). For more information about a particular measure or the prerequisites listed at the bottom of the checklist, see the GreenPoint Rated Existing Multifamily Rating Manual. How to Use Checklist Select either Whole Building or Elements label in Cell Q3. The Elements label is for projects that cannot meet the requirements for the Whole Building label. Elements projects are often only doing partial renovation work. To get points for a particular measure, choose from the green dropdown menu found in Column A. The points for each measure will automatically calculate under Column N, “Point Achieved” as well as at the bottom of the Checklist (Row 307). Choosing “Yes” or “≥90% “will give you full credit for that measure. For items that allow partial credit, choose the appropriate % amount (minimum of 10%) based on both the new and existing conditions for the entire building. Key (Whole Building) = Required measure for the Whole Building label (Elements) = Required measure for the Elements label (EPA IAP) = Requirement for meeting GreenPoint Rated Measure PJ1 GreenPoint Rated is provided as a public service by Build It Green, a professional non-profit whose mission is to promote healthy, energy and resource efficient buildings in California. For more information please visit www.builditgreen.org/greenpointrated. | [12 empty] | Community | Energy | Health/IAQ | Resources | Water
[14 empty] | Enter Label: | Whole Building
[13 empty] | Total Targeted Points: |  |  |  | 0
[13 empty] | 0 | 0 | 0 | 0 | 0
[13 empty] | 3 | 20 | 5 | 6 | 3
Enter Project Name | [11 empty] | Points Achieved | Community | Energy | IAQ/Health | Resources | Water | Responsible Party | Notes
AA. COMMUNITY DESIGN AND PLANNING |  |  |  | Community | Energy | Health/IAQ | Resources | Water |  |  |  |  | Possible Points
| -2 | -2 | 0 | 0 |  |  |  |  | 1. Conserve Resources by Increasing Density -15 Units Per Acre or Greater (1 Point for every additional 5 dwelling units/acre) Enter Dwelling Units per Acre |  |  | 0 | 10 | [6 empty] | 1. Conserve Resources by Increasing Density -15 Units Per Acre or Greater (1 Point for every additional 5 dwelling units/acre) Enter Dwelling Units per Acre
[9 empty] | 2. Design for Walking & Bicycling | [10 empty] | 2. Design for Walking & Bicycling
TBD | 0 | 0 |  | 0 |  |  |  |  | a. Provide Dedicated, Covered & Secure Bicycle Storage for 15% of Residents |  |  | 0 | 1 | [6 empty] | a. Provide Dedicated, Covered & Secure Bicycle Storage for 15% of Residents
TBD | 0 | 0 |  | 0 |  |  |  |  | b. Provide Secure Bicycle Storage for 5% of Non-Residential Tenants and Visitors |  |  | 0 | 1 | [6 empty] | - AA2b – in MF NH, includes non-resident tenants and visitors – but in MF EH includes only non-resident tenants – was this intentional?
[9 empty] | 3. Alternative Transportation | [10 empty] | 3. Alternative Transportation
[9 empty] | a. Site has Pedestrian Access Within ½ Mile of Community Services: | [10 empty] | a. Site has Pedestrian Access Within ½ Mile of Community Services:
| 0 | 0 | [6 empty] | TIER 1: Enter number of services within ½ Mile: | [10 empty] | TIER 1: Enter number of services within ½ Mile:
[9 empty] | 1) Day Care | 2) Community Center | 3) Public Park | [8 empty] | 1) Day Care
[9 empty] | 4) Drug Store | 5) Restaurant | 6) School | [8 empty] | 4) Drug Store
[9 empty] | 7) Library | 8) Farmer's Market | 9) After School Programs | [8 empty] | 7) Library
[9 empty] | 10) Convenience Store Where Meat & Produce are Sold | [10 empty] | 10) Convenience Store Where Meat & Produce are Sold
| 0 | 0 | [6 empty] | TIER 2: Enter number of services within ½ Mile: | [10 empty] | TIER 2: Enter number of services within ½ Mile:
[9 empty] | 1) Bank | 2) Place of Worship | 3) Laundry/Cleaners | [8 empty] | 1) Bank
[9 empty] | 4) Hardware | 5) Theater/Entertainment | 6) Fitness/Gym | [8 empty] | 4) Hardware
[9 empty] | 7) Post Office | 8) Senior Care Facility | 9) Medical/Dental | [8 empty] | 7) Post Office
[9 empty] | 10) Hair Care | 11) Other Commercial Office | 12) Full Scale Supermarket | [8 empty] | 10) Hair Care
| 0 | 0 |  | 0 |  |  |  |  | i. 5 Services Listed Above (Tier 2 Services Count as 1/2 Service Value) |  |  | 0 | 1 | [6 empty] | i. 5 Services Listed Above (Tier 2 Services Count as 1/2 Service Value)
| 0 | 0 |  | 0 |  |  |  |  | ii.10 Services Listed Above (Tier 2 Services Count as 1/2 Service Value) |  |  | 0 | 1 | [6 empty] | ii.10 Services Listed Above (Tier 2 Services Count as 1/2 Service Value)
TBD | 0 | 0 |  | 0 |  |  |  |  | b. Development is within 1/2 Mile Walking Distance of a Major Transit Stop (Commuter Train/Light Rail Transit System) or Two or More Planned/Current Bus Line Stops |  |  | 0 | 1 | [6 empty] | b. Development is within 1/2 Mile Walking Distance of a Major Transit Stop (Commuter Train/Light Rail Transit System) or Two or More Planned/Current Bus Line Stops
[9 empty] | c. Reduced Parking Capacity | [10 empty] | c. Reduced Parking Capacity
TBD | 0 | 0 |  | 0 |  |  |  |  | i. Less than 1.5 Parking Spaces Per Unit |  |  | 0 | 1 | [6 empty] | i. Less than 1.5 Parking Spaces Per Unit
TBD | 0 | 0 |  | 0 |  |  |  |  | ii. Less than 1.0 Parking Spaces Per Unit |  |  | 0 | 1 | [6 empty] | ii. Less than 1.0 Parking Spaces Per Unit
[9 empty] | 4. Outdoor Gathering Places | [10 empty] | 4. Outdoor Gathering Places
TBD | 0 | 0 |  | 0 |  |  |  |  | a. Private or Semi-Public Outdoor Gathering Places for Residents (Minimum of 50 sf Per Unit) (mutually exclusive with AA4b) |  |  | 0 | 1 | [6 empty] | a. Private or Semi-Public Outdoor Gathering Places for Residents (Minimum of 50 sf Per Unit) (mutually exclusive with AA4b)
TBD | 0 | 0 |  | 0 |  |  |  |  | b. Outdoor Gathering Place of Compact Site Provides Natural Elements (mutually exclusive with AA4a) (Projects Must Be a Minimum of 50 dwelling units/acre) |  |  | 0 | 1 | [6 empty] | b. Outdoor Gathering Place of Compact Site Provides Natural Elements (mutually exclusive with AA4a) (Projects Must Be a Minimum of 50 dwelling units/acre)
TBD | 0 | 0 |  | 0 |  |  |  |  | c. Outdoor Gathering Places are Contiguous to & Have Direct Access to At Least Two Tier 1 Community Services (See AA3a) |  |  | 0 | 1 | [6 empty] | c. Outdoor Gathering Places are Contiguous to & Have Direct Access to At Least Two Tier 1 Community Services (See AA3a)
[9 empty] | 5. Design for Safety and Vandalism Deterrence | [10 empty] | 5. Design for Safety and Vandalism Deterrence
TBD | 0 | 0 |  | 0 |  |  |  |  | a. Residence Entries Have Views to Callers (Windows or Double Peep Holes) & Can Be Seen By Neighbors |  |  | 0 | 1 | [6 empty] | a. Residence Entries Have Views to Callers (Windows or Double Peep Holes) & Can Be Seen By Neighbors
TBD | 0 | 0 |  | 0 |  |  |  |  | b. All Main Entrances to the Building and Site are Prominent and Visible from the Street |  |  | 0 | 1 | [6 empty] | b. All Main Entrances to the Building and Site are Prominent and Visible from the Street
[9 empty] | 6. Include Universal Design Principles in Units | [10 empty] | 6. Include Universal Design Principles in Units
TBD | 0 | 0 |  | 0 |  |  |  |  | a. 50% of Units |  |  | 0 | 1 | [6 empty] | a. 50% of Units
TBD | 0 | 0 |  | 0 |  |  |  |  | b. 80% of Units |  |  | 0 | 1 | [6 empty] | b. 80% of Units
[9 empty] | 7. Affordability | [10 empty] | 7. Affordability
[9 empty] | a. Units are Dedicated to Households Making 80% or Less of AMI | [10 empty] | a. Units are Dedicated to Households Making 80% or Less of AMI
TBD | 0 | 0 |  | 0 |  |  |  |  | i. 10% of All Units |  |  | 0 | 1 | [6 empty] | i. 10% of All Units
TBD | 0 | 0 |  | 0 |  |  |  |  | ii. 25% |  |  | 0 | 1 | [6 empty] | ii. 25%
TBD | 0 | 0 |  | 0 |  |  |  |  | iii. 50% or More |  |  | 0 | 1 | [6 empty] | iii. 50% or More
TBD | 0 | 0 |  | 0 |  |  |  |  | b. Development Includes Multiple Bedroom Units At or Less Than 80% AMI (Minimum of Two 3-Bedroom Units) |  |  | 0 | 1 | [6 empty] | b. Development Includes Multiple Bedroom Units At or Less Than 80% AMI (Minimum of Two 3-Bedroom Units)
TBD | 0 | 0 |  | 0 |  |  |  |  | c. At least 20% of Units at 120% or Less of AMI are For-Sale |  |  | 0 | 1 | [6 empty] | c. At least 20% of Units at 120% or Less of AMI are For-Sale
[9 empty] | Total Available Points in Community Design and Planning: 28 |  |  | 0 | [7 empty] | Total Available Points in Community Design and Planning: 28
A. SITE | [12 empty] | Possible Points | [6 empty] | 0
TBD | 0 | 0 |  | 0 |  |  | 0 |  | 1. Protect Topsoil and Minimize Disruption of Existing Plants & Trees |  |  | 0 | 1 |  |  | 1 |  |  |  | 1. Protect Topsoil and Minimize Disruption of Existing Plants & Trees
[9 empty] | 2. Divert Construction and Demolition Waste | [10 empty] | 2. Divert Construction and Demolition Waste
TBD | 0 | 0 |  |  |  |  | N |  | a. Divert All Cardboard, Concrete, Asphalt, & Metals (Whole Building & Elements) |  |  | N |  |  |  | R |  |  |  | a. Divert All Cardboard, Concrete, Asphalt, & Metals (Whole Building & Elements)
TBD | 0 | 0 |  |  |  |  | 0 |  | b. Divert 25% of Remaining Construction & Demolition Waste (Excluding all Materials Diverted in A2a) |  |  | 0 |  |  |  | 2 |  |  |  | b. Divert 25% of Remaining Construction & Demolition Waste (Excluding all Materials Diverted in A2a)
TBD | 0 | 0 |  |  |  | 0 |  |  | 3. Construction Environmental Quality Management Plan is Conducted (EPA IAP) |  |  | 0 |  |  | 2
TBD | 0 | 0 |  |  |  |  | 0 |  | 4. Use Minimum 25% Recycled Content Aggregate |  |  | 0 |  |  |  | 1 |  |  |  | 4. Use Minimum 25% Recycled Content Aggregate
TBD | 0 | 0 |  | 0 |  |  |  |  | 5. Cool Site: Reduce Heat Island Effect on Site |  |  | 0 | 1 | [6 empty] | 5. Cool Site: Reduce Heat Island Effect on Site
[9 empty] | Total Available Points in Site: 8 |  |  | 0 | [7 empty] | Total Available Points in Site: 8
B. LANDSCAPE | [12 empty] | Possible Points | [6 empty] | 0
0% | 0 | 0 | [6 empty] | Enter percentage of total site area dedicated to landscaping. Sites with less than 10% of the total site area dedicated to landscaping can only earn up to 4 points for measures B1 through B7. Calculate the landscape area percentage by dividing the landscape area by the total site area. Include the building footprint(s) and all other developed portions of the site up to the site boundary. | [10 empty] | Enter percentage of total site area dedicated to landscaping. Sites with less than 10% of the total site area dedicated to landscaping can only earn up to 4 points for measures B1 through B7. Calculate the landscape area percentage by dividing the landscape area by the total site area. Include the building footprint(s) and all other developed portions of the site up to the site boundary.
TBD | 0 | 0 | [5 empty] | 0 | 1. Group Plants by Water Needs (Hydrozoning) |  |  | 0 |  |  |  |  | 2 |  |  | 1. Group Plants by Water Needs (Hydrozoning)
TBD | 0 | 0 | [5 empty] | 0 | 2. Mulch All Planting Beds a Minimum of 3 Inches |  |  | 0 |  |  |  |  | 2 |  |  | 2. Mulch All Planting Beds a Minimum of 3 Inches
[9 empty] | 3. Construct Resource-Efficient Landscapes | [10 empty] | 3. Construct Resource-Efficient Landscapes
TBD | 0 | 0 |  |  |  |  | 0 |  | a. No Invasive Species Listed by Cal-IPC Are Planted |  |  | 0 |  |  |  | 1 |  |  |  | a. No Invasive Species Listed by Cal-IPC Are Planted
TBD | 0 | 0 |  |  |  |  | 0 |  | b. No Plant Species will Require Shearing |  |  | 0 |  |  |  | 1 |  |  |  | b. No Plant Species will Require Shearing
TBD | 0 | 0 | [5 empty] | 0 | c. 75% of Plants are Drought-tolerant, California Natives, Mediterranean or Other Appropriate Species |  |  | 0 |  |  |  |  | 3 |  |  | c. 75% of Plants are Drought-tolerant, California Natives, Mediterranean or Other Appropriate Species
[9 empty] | 4. Minimize Turf in Landscape | [10 empty] | 4. Minimize Turf in Landscape
TBD | 0 | 0 | [5 empty] | 0 | a. Turf Shall Not Be Installed on Slopes Exceeding 10% and No Overhead Sprinklers Installed in Areas Less than 8 Feet Wide |  |  | 0 |  |  |  |  | 2 |  |  | a. Turf Shall Not Be Installed on Slopes Exceeding 10% and No Overhead Sprinklers Installed in Areas Less than 8 Feet Wide
TBD | 0 | 0 | [5 empty] | 0 | b. Turf Is ≤ 25% of Landscaped Area |  |  | 0 |  |  |  |  | 2 |  |  | b. Turf Is ≤ 25% of Landscaped Area
[9 empty] | 5. Install High-Efficiency Irrigation Systems | [10 empty] | 5. Install High-Efficiency Irrigation Systems
TBD | 0 | 0 | [5 empty] | 0 | a. System Uses Only Low-Flow Drip, Bubblers or Sprinklers |  |  | 0 |  |  |  |  | 2 |  |  | a. System Uses Only Low-Flow Drip, Bubblers or Sprinklers
TBD | 0 | 0 | [5 empty] | 0 | b. System Has Smart (Weather-based) Controllers |  |  | 0 |  |  |  |  | 3 |  |  | b. System Has Smart (Weather-based) Controllers
TBD | 0 | 0 | [5 empty] | 0 | 6. Incorporate Two Inches of Compost in the Top 6 to 12 Inches of Soil |  |  | 0 |  |  |  |  | 3 |  |  | 6. Incorporate Two Inches of Compost in the Top 6 to 12 Inches of Soil
[9 empty] | 7. Design Landscape to Meet Water Budget | [10 empty] | 7. Design Landscape to Meet Water Budget
TBD | 0 | FALSE | [5 empty] | 0 | a. Install Irrigation System That Will Be Operated at ≤70% Reference ET (B1. and B2. are Prerequisites for Credit) |  |  | 0 |  |  |  |  | 1 |  |  | a. Install Irrigation System That Will Be Operated at ≤70% Reference ET (B1. and B2. are Prerequisites for Credit)
TBD | 0 | FALSE | [5 empty] | 0 | b. Install Irrigation System That Will Be Operated at ≤ 50% Reference ET (B1, B2. and B5a. or B5b. are Prerequisites for Credit) |  |  | 0 |  |  |  |  | 1 |  |  | b. Install Irrigation System That Will Be Operated at ≤ 50% Reference ET (B1, B2. and B5a. or B5b. are Prerequisites for Credit)
TBD | 0 | 0 |  | 0 |  |  |  |  | 8. Incorporate Community Garden |  |  | 0 | 1 | [6 empty] | 8. Incorporate Community Garden
[9 empty] | 9. Source Water Efficiency | [10 empty] | 9. Source Water Efficiency
TBD | 0 | 0 | [5 empty] | 0 | a. Use Recycled Water for Indoor and/or Outdoor Water Use |  |  | 0 |  |  |  |  | 2 |  |  | a. Use Recycled Water for Indoor and/or Outdoor Water Use
TBD | 0 | 0 | [5 empty] | 0 | b. Use Rainwater for Indoor and/or Outdoor Water Use |  |  | 0 |  |  |  |  | 4 |  |  | b. Use Rainwater for Indoor and/or Outdoor Water Use
[9 empty] | 10. Outdoor Play Structures and Outdoor Furniture | [10 empty] | 10. Outdoor Play Structures and Outdoor Furniture
TBD | 0 | 0 |  |  |  |  | 0 |  | a. Play Structures & Surfaces Have an Average Recycled Content ≥20% |  |  | 0 |  |  |  | 1 |  |  |  | a. Play Structures & Surfaces Have an Average Recycled Content ≥20%
TBD | 0 | 0 |  |  |  |  | 0 |  | b. Environmentally Preferable Exterior Site Furnishings |  |  | 0 |  |  |  | 1 |  |  |  | b. Environmentally Preferable Exterior Site Furnishings
TBD | 0 | 0 |  | 0 |  |  |  |  | 11. Reduce Light Pollution by Shielding Fixtures and Directing Light Downward |  |  | 0 | 1 | [6 empty] | 11. Reduce Light Pollution by Shielding Fixtures and Directing Light Downward
TBD | 0 | 0 |  | 0 |  |  |  |  | 12. High Efficacy Site Lighting |  |  | 0 |  | 1 | [5 empty] | 12. High Efficacy Site Lighting
TBD | 0 | 0 |  | 0 |  |  |  |  | 13. Energy Efficient Water Heaters/Pumps for Pools and Fountains |  |  | 0 |  | 1 | [5 empty] | 13. Energy Efficient Water Heaters/Pumps for Pools and Fountains
[9 empty] | Total Available Points in Landscape: 35 |  |  | 0 | [7 empty] | Total Available Points in Landscape: 35
C. DESIGN CONSIDERATIONS | [12 empty] | Possible Points | [6 empty] | 0
[9 empty] | 1. Existing Building Commissioning | [10 empty] | 1. Existing Building Commissioning
TBD | 0 | 0 |  | 0 |  |  |  |  | a. Equipment Review and Verification |  |  | 0 |  | 1 | [5 empty] | a. Equipment Review and Verification
TBD | 0 | 0 |  |  |  | 0 |  |  | b. System Testing |  |  | 0 |  | 2 | [5 empty] | b. System Testing
TBD | 0 | 0 |  |  |  | 0 |  |  | c. Remediation Plan, System Manual, and Operator Training |  |  | 0 |  | 1 | [5 empty] | c. Remediation Plan, System Manual, and Operator Training
TBD | 0 | 0 |  |  | 0 | 0 |  | 0 | 2. Conduct Green Physical Needs/Property Conditions Assessement |  |  | 0 |  | 0.5 | 0.5 |  | 0.5 |  |  | 2. Conduct Green Physical Needs/Property Conditions Assessement
[9 empty] | Total Available Points in Design Considerations: 5.5 |  |  | 0 | [7 empty] | Total Available Points in Design Considerations: 5.5
D. FOUNDATION, STRUCTURAL FRAME & BUILDING ENVELOPE | [12 empty] | Possible Points | [6 empty] | 0
TBD | 0 | 0 |  |  |  |  | N |  | 1. Building Envelope Survey and Correction (Whole Building) |  |  | N |  | R | [5 empty] | 1. Building Envelope Survey and Correction (Whole Building)
TBD | 0 | 0 |  |  |  |  | N |  | 2. Foundation Survey and Correction (Whole Building) |  |  | N |  | R | [5 empty] | 2. Foundation Survey and Correction (Whole Building)
[9 empty] | 3. Replace Portland Cement in Concrete with Minimum 20% Recycled Flyash and/or Slag | [10 empty] | 3. Replace Portland Cement in Concrete with Minimum 20% Recycled Flyash and/or Slag
TBD | 0 | 0 |  |  |  |  | 0 |  | a. Minimum 20% Flyash and/or Slag Content |  |  | 0 |  |  |  | 1
TBD | 0 | 0 |  |  |  |  | 0 |  | b. Minimum 30% Flyash and/or Slag Content |  |  | 0 |  |  |  | 2
TBD | 0 | 0 |  |  |  | 0 | 0 |  | 4. Design, Build and Maintain Structural Pest and Rot Controls (Low-Rise Only) |  |  | 0 |  |  | 1 | 1 |  |  |  | 4. Design, Build and Maintain Structural Pest and Rot Controls (Low-Rise Only)
[9 empty] | 5. Optimal Value Engineering | [10 empty] | 5. Optimal Value Engineering
TBD | 0 | 0 |  |  |  |  | 0 |  | a. Studs at 24 Inch on Center at Interior Non-Bearing Walls and Top Floor |  |  | 0 |  |  |  | 1 |  |  |  | a. Studs at 24 Inch on Center at Interior Non-Bearing Walls and Top Floor
TBD | 0 | 0 |  |  |  |  | 0 |  | b. Door & Window Headers Sized for Load |  |  | 0 |  |  |  | 1 |  |  |  | b. Door & Window Headers Sized for Load
[9 empty] | 6. Use Engineered Lumber | [10 empty] | 6. Use Engineered Lumber
TBD | 0 | 0 |  |  |  |  | 0 |  | a. Engineered Beams and Headers |  |  | 0 |  |  |  | 1 |  |  |  | a. Engineered Beams and Headers
TBD | 0 | 0 |  |  |  |  | 0 |  | b. Wood I-Joists or Web Trusses for Floors |  |  | 0 |  |  |  | 1 |  |  |  | b. Wood I-Joists or Web Trusses for Floors
TBD | 0 | 0 |  |  |  |  | 0 |  | c. Oriented Strand Board for Subfloor |  |  | 0 |  |  |  | 1 |  |  |  | c. Oriented Strand Board for Subfloor
TBD | 0 | 0 |  |  |  |  | 0 |  | d. Oriented Strand Board for Wall and Roof Sheathing |  |  | 0 |  |  |  | 1 |  |  |  | d. Oriented Strand Board for Wall and Roof Sheathing
TBD | 0 | 0 |  |  | 0 |  |  |  | 7. Insulated Headers |  |  | 0 |  | 1 | [5 empty] | 7. Insulated Headers
[9 empty] | 8. Use FSC-Certified Wood | [10 empty] | 8. Use FSC-Certified Wood
TBD | 0 | 0 |  |  |  |  | 0 |  | a. Dimensional Lumber, Studs and Timber |  |  | 0 |  |  |  | 4 |  |  |  | a. Dimensional Lumber, Studs and Timber
TBD | 0 | 0 |  |  |  |  | 0 |  | b. Panel Products |  |  | 0 |  |  |  | 2 |  |  |  | b. Panel Products
[9 empty] | 9. Retrofit/Upgrade Structure for Wind/Seismic Lateral Load Reinforcement | [10 empty] | 9. Retrofit/Upgrade Structure for Wind/Seismic Lateral Load Reinforcement
TBD | 0 | 0 |  |  |  |  | 0 |  | a. Partial Lateral Load Reinforcement Upgrade/Retrofit |  |  | 0 |  |  |  | 2 |  |  |  | a. Partial Lateral Load Reinforcement Upgrade/Retrofit
TBD | 0 | 0 |  |  |  |  | 0 |  | b. Complete Building Lateral Load Reinforcement Upgrade/Retrofit |  |  | 0 |  |  |  | 2 |  |  |  | b. Complete Building Lateral Load Reinforcement Upgrade/Retrofit
[9 empty] | Total Available Points in Foundation, Structural Frame & Building Envelope: 22 |  |  | 0 | [7 empty] | Total Available Points in Foundation, Structural Frame & Building Envelope: 22
E. EXTERIOR | [12 empty] | Possible Points | [6 empty] | 0
[9 empty] | 1. Durable Cladding System | [10 empty] | 1. Durable Cladding System
TBD | 0 | 0 |  |  |  |  | 0 |  | a. Install a Rain Screen Wall System |  |  | 0 |  |  |  | 2 |  |  |  | a. Install a Rain Screen Wall System
TBD | 0 | 0 |  |  |  |  | 0 |  | b. Use Durable and Non-Combustible Cladding Materials |  |  | 0 |  |  |  | 1 |  |  |  | b. Use Durable and Non-Combustible Cladding Materials
TBD | 0 | 0 |  |  |  |  | 0 |  | 2. Use Durable and Fire Resistant Roofing Materials/Assembly |  |  | 0 |  |  |  | 1 |  |  |  | 2. Use Durable and Fire Resistant Roofing Materials/Assembly
TBD | 0 | 0 |  | 0 |  |  |  |  | 3. Vegetated Roof (2 points for 25% of Roof, 4 points for 50% of Roof) |  |  | 0 | 4 | [6 empty] | 3. Vegetated Roof (2 points for 25% of Roof, 4 points for 50% of Roof)
[9 empty] | Total Available Points in Exterior: 8 |  |  | 0 | [7 empty] | Total Available Points in Exterior: 8
F. INSULATION | [12 empty] | Possible Points | [6 empty] | 0
[9 empty] | 1. Install Insulation with 75% Recycled Content | [10 empty] | 1. Install Insulation with 75% Recycled Content
TBD | 0 | 0 |  |  |  |  | 0 |  | a. Walls |  |  | 0 |  |  |  | 1 |  |  |  | a. Walls
TBD | 0 | 0 |  |  |  |  | 0 |  | b. Ceilings |  |  | 0 |  |  |  | 1 |  |  |  | b. Ceilings
TBD | 0 | 0 |  |  |  |  | 0 |  | c. Floors |  |  | 0 |  |  |  | 1 |  |  |  | c. Floors
[9 empty] | Total Available Points in Insulation: 3 |  |  | 0 | [7 empty] | Total Available Points in Insulation: 3
G. PLUMBING | [12 empty] | Possible Points | [6 empty] | 0
TBD | 0 | 0 | [5 empty] | N | 1. Plumbing Survey and Correction (Whole Building & Elements) |  |  | N |  |  |  |  | R |  |  | 1. Plumbing Survey and Correction (Whole Building & Elements)
[9 empty] | 2. Water Efficient Fixtures | [10 empty] | 2. Water Efficient Fixtures
TBD | 0 | 0 | [5 empty] | N | a. All Fixtures Meet Federal Energy Policy Act of 1992 (Whole Building) |  |  | N |  |  |  |  | R |  |  | a. All Fixtures Meet Federal Energy Policy Act of 1992 (Whole Building)
TBD | 0 | 0 | [5 empty] | 0 | b. Install High Efficiency Toilets (Dual Flush or ≤ 1.28 Gallons Per Flush (gpf)) |  |  | 0 |  |  |  |  | 2 |  |  | b. Install High Efficiency Toilets (Dual Flush or ≤ 1.28 Gallons Per Flush (gpf))
[9 empty] | c. High Efficiency Urinals or No-Water Urinals Are Specified: | [10 empty] | c. High Efficiency Urinals or No-Water Urinals Are Specified:
TBD | 0 | 0 | [5 empty] | 0 | i. Average Flush Rate is ≤0.5 gpf |  |  | 0 |  |  |  |  | 1 |  |  | i. Average Flush Rate is ≤0.5 gpf
TBD | 0 | 0 | [5 empty] | 0 | ii. Average Flush Rate is ≤0.1 gpf |  |  | 0 |  |  |  |  | 1 |  |  | ii. Average Flush Rate is ≤0.1 gpf
TBD | 0 | 0 | [5 empty] | 0 | d. High Efficiency Showerheads Use ≤ 2.0 Gallons Per Minute (gpm) at 80 psi |  |  | 0 |  |  |  |  | 3 |  |  | d. High Efficiency Showerheads Use ≤ 2.0 Gallons Per Minute (gpm) at 80 psi
[9 empty] | e. Flow Limiters Or Flow Control Valves Are Installed on All Faucets | [10 empty] | e. Flow Limiters Or Flow Control Valves Are Installed on All Faucets
TBD | 0 | 0 | [5 empty] | 0 | i. Bath Faucets ≤ 1.5 gpm at 60psi |  |  | 0 |  |  |  |  | 1 |  |  | i. Bath Faucets ≤ 1.5 gpm at 60psi
TBD | 0 | 0 | [5 empty] | 0 | ii. Kitchen Faucets ≤ 2.0 gpm |  |  | 0 |  |  |  |  | 1 |  |  | ii. Kitchen Faucets ≤ 2.0 gpm
TBD | 0 | 0 |  |  | 0 |  |  | 0 | 3. Insulate All Hot Water Pipes (EPA IAP) |  |  | 0 |  | 1 |  |  | 1 |  |  | 3. Insulate All Hot Water Pipes (EPA IAP)
[9 empty] | 4. Central Domestic Hot Water Survey and Tune-Up | [10 empty] | 4. Central Domestic Hot Water Survey and Tune-Up
TBD | 0 | 0 | [5 empty] | 0 | a. CDHW System Survey and Maintenance Manual |  |  | 0 |  |  |  |  | 1 |  |  | a. CDHW System Survey and Maintenance Manual
TBD | 0 | 0 | [5 empty] | 0 | b. CDHW System Upgrades (G4a. Is Prerequisite for Credit) |  |  | 0 |  |  |  |  | 2 |  |  | b. CDHW System Upgrades (G4a. Is Prerequisite for Credit)
TBD | 0 | 0 | [5 empty] | 0 | 6. Water Submetering: Bill Tenants for Actual Usage |  |  | 0 |  |  |  |  | 4 |  |  | 6. Water Submetering: Bill Tenants for Actual Usage
[9 empty] | Total Available Points in Plumbing: 18 |  |  | 0 | [7 empty] | Total Available Points in Plumbing: 18
H. HEATING VENTILATION AND AIR CONDITIONING | [12 empty] | Possible Points | [6 empty] | 0
TBD | 0 | 0 |  |  |  | N |  |  | 1. HVAC Survey (Whole Building & Elements) |  |  | N |  |  | R |  |  |  |  | 1. HVAC Survey (Whole Building & Elements)
TBD | 0 | 0 |  |  |  | N |  |  | 2. Combustion Safety Backdraft Test (Whole Building & Elements) |  |  | N |  |  | R |  |  |  |  | 2. Combustion Safety Backdraft Test (Whole Building & Elements)
TBD | 0 | 0 |  |  |  | N |  |  | 3. Carbon Monoxide Testing and Correction (Whole Building) |  |  | N |  |  | R |  |  |  |  | 3. Carbon Monoxide Testing and Correction (Whole Building)
TBD | 0 | 0 |  |  |  | 0 |  |  | 4. Install High Performing Zoned Radiant Hydronic Heating |  |  | 0 |  |  | 2 |  |  |  |  | 4. Install High Performing Zoned Radiant Hydronic Heating
TBD | 0 | 0 |  | 0 |  |  |  |  | 5. Install High Efficiency Air Conditioning with Environmentally Preferable Refrigerants |  |  | 0 | 1 | [6 empty] | 5. Install High Efficiency Air Conditioning with Environmentally Preferable Refrigerants
[9 empty] | 6. Advanced Ventilation Practices for Cooling | [10 empty] | 6. Advanced Ventilation Practices for Cooling
TBD | 0 | 0 |  |  | 0 | 0 |  |  | a. Operable Windows/Skylights Induce Cross Ventilation (1+ Rooms in 80% of Units) |  |  | 0 |  | 1 | 1 |  |  |  |  | a. Operable Windows/Skylights Induce Cross Ventilation (1+ Rooms in 80% of Units)
TBD | 0 | 0 |  |  | 0 |  |  |  | b. ENERGY STAR Ceiling Fans and Light Kits in Living Areas & All Bedrooms |  |  | 0 |  | 1 | [5 empty] | b. ENERGY STAR Ceiling Fans and Light Kits in Living Areas & All Bedrooms
[9 empty] | 7. Advanced Mechanical Ventilation for IAQ | [10 empty] | 7. Advanced Mechanical Ventilation for IAQ
TBD | 0 | 0 |  |  |  | 0 |  |  | a. Compliance with ASHRAE 62.1 and 62.2 Mechanical Ventilation Standard (As Adopted in Title 24 Part 6). |  |  | 0 |  |  | 1 |  |  |  |  | a. Compliance with ASHRAE 62.1 and 62.2 Mechanical Ventilation Standard (As Adopted in Title 24 Part 6).
TBD | 0 | 0 |  |  |  | 0 |  |  | b. Advanced Ventilation Practices |  |  | 0 |  |  | 1 |  |  |  |  | b. Advanced Ventilation Practices
TBD | 0 | 0 |  |  |  | 0 |  |  | c. Outdoor Air Ducted to Bedroom and Living Areas of Home |  |  | 0 |  |  | 2 |  |  |  |  | c. Outdoor Air Ducted to Bedroom and Living Areas of Home
TBD | 0 | 0 |  |  |  | 0 |  |  | d. ENERGY STAR Bathroom Fans on Timer or Humidistat |  |  | 0 |  |  | 1
TBD | 0 | 0 |  |  |  | 0 |  |  | e. Kitchen Range Hood Exhaust System Vented to Outside |  |  | 0 |  |  | 1 |  |  |  |  | e. Kitchen Range Hood Exhaust System Vented to Outside
| 0 | 0 |  |  |  | 0 |  |  | 8. Advanced HVAC Practices for Distributed Systems | [10 empty] | 8. Advanced HVAC Practices for Distributed Systems
TBD | 0 | 0 |  |  |  | 0 |  |  | a. Conduct Diagnostic Testing of System |  |  | 0 |  |  | 1 |  |  |  |  | a. Conduct Diagnostic Testing of System
TBD | 0 | 0 |  |  |  | 0 |  |  | b. Conduct Flow Hood Test and Assess Delivery of Air for Distributed Systems |  |  | 0 |  |  | 1 |  |  |  |  | b. Conduct Flow Hood Test and Assess Delivery of Air for Distributed Systems
TBD | 0 | 0 |  |  |  | 0 |  |  | c. Air Conditioning Compressor Operates Properly and Refrigerant Charge is Optimal |  |  | 0 |  |  | 2 |  |  |  |  | c. Air Conditioning Compressor Operates Properly and Refrigerant Charge is Optimal
TBD | 0 | 0 |  |  |  | 0 |  |  | 9. Garage Ventilation Fans Are Controlled by Carbon Monoxide Sensors (EPA IAP) (Passive Ventilation Not Eligible) |  |  | 0 |  |  | 1 |  |  |  |  | 9. Garage Ventilation Fans Are Controlled by Carbon Monoxide Sensors (EPA IAP) (Passive Ventilation Not Eligible)
TBD | 0 | 0 |  |  |  | 0 |  |  | 10. Install Carbon Monoxide Alarms (EPA IAP) |  |  | 0 |  |  | 1 |  |  |  |  | 10. Install Carbon Monoxide Alarms (EPA IAP)
[9 empty] | Total Available Points in Heating Ventilation and Air Conditioning: 18 |  |  | 0 | [7 empty] | Total Available Points in Heating Ventilation and Air Conditioning: 18
I. RENEWABLE ENERGY | [12 empty] | Possible Points | [6 empty] | 0
TBD | 0 | 0 |  |  | 0 |  |  |  | 1. Solar Hot Water System Preheats Domestic Hot Water |  |  | 0 |  | 4 | [5 empty] | 1. Solar Hot Water System Preheats Domestic Hot Water
[9 empty] | 2. Offset a Percentage of the Project's Estimated Electricity Demand with Onsite Renewable Generation | [10 empty] | 2. Offset a Percentage of the Project's Estimated Electricity Demand with Onsite Renewable Generation
TBD | 0 | 0 |  | 0 | 0 |  |  |  | a. 60% of Common Area Load |  |  | 0 | 2 | 2 | [5 empty] | a. 60% of Common Area Load
TBD | 0 | 0 |  | 0 | 0 |  |  |  | b. 90% of Common Area Load |  |  | 0 | 2 | 2 | [5 empty] | b. 90% of Common Area Load
TBD | 0 | 0 |  | 0 | 0 |  |  |  | c. 10% or More of Residential Units Load |  |  | 0 | 2 | 2 | [5 empty] | c. 10% or More of Residential Units Load
[9 empty] | Total Available Points in Renewable Energy: 16 |  |  | 0 | [7 empty] | Total Available Points in Renewable Energy: 16
J. BUILDING PERFORMANCE | [12 empty] | Possible Points | [6 empty] | 0
TBD | 0 | 0 |  |  | N |  |  |  | 1. Complete Energy Survey (Elements) |  |  | N |  | R | [5 empty] | 1. Complete Energy Survey (Elements)
| 0 | 0 |  |  | 0 |  |  |  | 2. Energy Upgrades (Elements Only, Mutually Exclusive with J3) | [10 empty] | 2. Energy Upgrades (Elements Only, Mutually Exclusive with J3)
| 0 | 0 |  |  | 0 |  |  |  | Tier 1 (Each Worth 1 Point) | [10 empty] | Tier 1 (Each Worth 1 Point)
TBD | 0 | 0 |  |  | 0 |  |  |  | a. Attic Insulation Meets or Exceeds Code (5 Story Maximum) |  |  | 0 |  | 1 | [5 empty] | a. Attic Insulation Meets or Exceeds Code (5 Story Maximum)
TBD | 0 | 0 |  |  | 0 |  |  |  | b. Cool Roof |  |  | 0 |  | 1 | [5 empty] | b. Cool Roof
TBD | 0 | 0 |  |  | 0 |  |  |  | c. Crawl Space Insulation Meets or Exceeds Current Code |  |  | 0 |  | 1 | [5 empty] | c. Crawl Space Insulation Meets or Exceeds Current Code
TBD | 0 | 0 |  |  | 0 |  |  |  | d. 75% of Wall Insulation Meets or Exceeds Current Code |  |  | 0 |  | 1 | [5 empty] | d. 75% of Wall Insulation Meets or Exceeds Current Code
TBD | 0 | 0 |  |  | 0 |  |  |  | e. 80% of Windows Meet Current Code |  |  | 0 |  | 1 | [5 empty] | e. 80% of Windows Meet Current Code
TBD | 0 | 0 |  |  | 0 |  |  |  | f. High Efficiency Space Heating (Central Furnace ≥ 90% AFUE; Central Boiler is 85%, HPSF 8) |  |  | 0 |  | 1 | [5 empty] | f. High Efficiency Space Heating (Central Furnace ≥ 90% AFUE; Central Boiler is 85%, HPSF 8)
TBD | 0 | 0 |  |  | 0 |  |  |  | g. 14 SEER, 11.5 EER Air Conditioning Unit in Each Unit (in climate zones 2,4, 8 - 15) |  |  | 0 |  | 1 | [5 empty] | g. 14 SEER, 11.5 EER Air Conditioning Unit in Each Unit (in climate zones 2,4, 8 - 15)
TBD | 0 | 0 |  |  | 0 |  |  |  | h. Complete Comprehensive Air Sealing Measures or Blower Door Test is .5ACH50 for Low Rise |  |  | 0 |  | 1 | [5 empty] | h. Complete Comprehensive Air Sealing Measures or Blower Door Test is .5ACH50 for Low Rise
TBD | 0 | 0 |  |  | 0 |  |  |  | i. High Efficiency Water Heater ≥ .62 EF or Central Boiler ≥ .85 AFUE |  |  | 0 |  | 1 | [5 empty] | i. High Efficiency Water Heater ≥ .62 EF or Central Boiler ≥ .85 AFUE
TBD | 0 | 0 |  |  | 0 |  |  |  | j. Recirculation Controls on Timer or Demand Installed |  |  | 0 |  | 1 | [5 empty] | j. Recirculation Controls on Timer or Demand Installed
[9 empty] | Tier 2 (Each Worth 0.5 Points) | [10 empty] | Tier 2 (Each Worth 0.5 Points)
TBD | 0 | 0 |  |  | 0 |  |  |  | k. 50% of Wall Insulation Meets or Exceeds Current Code |  |  | 0 |  | 0.5 | [5 empty] | k. 50% of Wall Insulation Meets or Exceeds Current Code
TBD | 0 | 0 |  |  | 0 |  |  |  | l. Radiant Barrier in Attic |  |  | 0 |  | 0.5 | [5 empty] | l. Radiant Barrier in Attic
TBD | 0 | 0 |  |  | 0 |  |  |  | m. 14 SEER, 11.5 EER Air Conditioning Unit in Common Areas (All Climate Zones) |  |  | 0 |  | 0.5 | [5 empty] | m. 14 SEER, 11.5 EER Air Conditioning Unit in Common Areas (All Climate Zones)
TBD | 0 | 0 |  |  | 0 |  |  |  | n. 14 SEER, 11.5 EER Air Conditioning Unit in Each Unit (Climate Zones 1,3,5,6,7,16) |  |  | 0 |  | 0.5 | [5 empty] | n. 14 SEER, 11.5 EER Air Conditioning Unit in Each Unit (Climate Zones 1,3,5,6,7,16)
TBD | 0 | 0 |  |  | 0 |  |  |  | o. Programmable Thermostat/Temperature Control in Common Areas and Each Unit |  |  | 0 |  | 0.5 | [5 empty] | o. Programmable Thermostat/Temperature Control in Common Areas and Each Unit
TBD | 0 | 0 |  |  | 0 |  |  |  | p. Temperature Modulation Control on Boiler |  |  | 0 |  | 0.5 | [5 empty] | p. Temperature Modulation Control on Boiler
0 | 1 | 1 |  |  | 0 |  |  |  | 3. Meet Energy Budget for Building Based on Year (Whole Building) |  |  | 0 |  | 30 | [5 empty] | 3. Meet Energy Budget for Building Based on Year (Whole Building)
TBD | 0 | 0 |  |  | 0 |  |  |  | 4. Comprehensive Utility Bill Analysis |  |  | 0 |  | 1 | [5 empty] | 4. Comprehensive Utility Bill Analysis
TBD | 0 | 0 |  |  | 0 |  |  |  | 5. Title 24 Prepared and Signed by a CABEC Certified Energy Plans Examiner (CEPE) |  |  | 0 |  | 1 | [5 empty] | 5. Title 24 Prepared and Signed by a CABEC Certified Energy Plans Examiner (CEPE)
|  | 0 | [6 empty] | 6. Participation in Utility Program with Third Party Plan Review | [10 empty] | 6. Participation in Utility Program with Third Party Plan Review
TBD | 0 | 0 |  |  | 0 |  |  |  | a. Energy Efficiency Program (EPA IAP) |  |  | 0 |  | 1 | [5 empty] | a. Energy Efficiency Program (EPA IAP)
TBD | 0 | 0 |  |  | 0 |  |  |  | b. Renewable Energy Program with Min. 30% Better Than Title 24 (High Performing Home) |  |  | 0 |  | 1 | [5 empty] | b. Renewable Energy Program with Min. 30% Better Than Title 24 (High Performing Home)
[9 empty] | Total Available Points in Building Performance: 17+ |  |  | 0 | [7 empty] | Total Available Points in Building Performance: 17+
K. FINISHES | [12 empty] | Possible Points | [6 empty] | 0
[9 empty] | 1. Entryways | [10 empty] | 1. Entryways
TBD | 0 | 0 |  |  |  | 0 |  |  | a. Design Entryways to Reduce Tracked-In Contaminants for All Home Entrances |  |  | 0 |  |  | 1 |  |  |  |  | a. Design Entryways to Reduce Tracked-In Contaminants for All Home Entrances
TBD | 0 | 0 |  |  |  | 0 |  |  | b. Permanent Walk-Off Systems Are Provided at All Main Building Entrances & In Common Areas |  |  | 0 |  |  | 1 |  |  |  |  | b. Permanent Walk-Off Systems Are Provided at All Main Building Entrances & In Common Areas
TBD | 0 | 0 |  |  |  |  | 0 |  | 2. Use Recycled Content Paint on All Exteriors |  |  | 0 |  |  |  | 1 |  |  |  | 2. Use Recycled Content Paint on All Exteriors
[9 empty] | 3. Low/No-VOC Paints & Coatings (EPA IAP) | [10 empty] | 3. Low/No-VOC Paints & Coatings (EPA IAP)
TBD | 0 | 0 |  |  |  | 0 |  |  | a. Low-VOC Interior Wall/Ceiling Paints (<50 grams per liter (gpl)) |  |  | 0 |  |  | 1 |  |  |  |  | a. Low-VOC Interior Wall/Ceiling Paints (<50 grams per liter (gpl))
TBD | 0 | 0 |  |  |  | 0 |  |  | b. Zero-VOC: Interior Wall/Ceiling Paints (<5 gpl) |  |  | 0 |  |  | 1 |  |  |  |  | b. Zero-VOC: Interior Wall/Ceiling Paints (<5 gpl)
TBD | 0 | 0 |  |  |  | 0 |  |  | c. Use Low-VOC Coatings That Meet SCAQMD Rule 1113 |  |  | 0 |  |  | 2 |  |  |  |  | c. Use Low-VOC Coatings That Meet SCAQMD Rule 1113
TBD | 0 | 0 |  |  |  | 0 |  |  | 4. Use Low VOC Caulks, Construction Adhesives & Sealants that Meet SCAQMD Rule 1168 |  |  | 0 |  |  | 1 |  |  |  |  | 4. Use Low VOC Caulks, Construction Adhesives & Sealants that Meet SCAQMD Rule 1168
[9 empty] | 5. Environmentally Preferable Materials for Interior Finishes (FSC-Certified Wood, Reclaimed Lumber, Rapidly Renewable, Recycled Content, Finger-Jointed, or Local) | [10 empty] | 5. Environmentally Preferable Materials for Interior Finishes (FSC-Certified Wood, Reclaimed Lumber, Rapidly Renewable, Recycled Content, Finger-Jointed, or Local)
TBD | 0 | 0 |  |  |  |  | 0 |  | a. Cabinets |  |  | 0 |  |  |  | 1 |  |  |  | a. Cabinets
TBD | 0 | 0 |  |  |  |  | 0 |  | b. Interior Trim |  |  | 0 |  |  |  | 1 |  |  |  | b. Interior Trim
TBD | 0 | 0 |  |  |  |  | 0 |  | c. Shelving |  |  | 0 |  |  |  | 1 |  |  |  | c. Shelving
TBD | 0 | 0 |  |  |  |  | 0 |  | d. Doors |  |  | 0 |  |  |  | 1 |  |  |  | d. Doors
TBD | 0 | 0 |  |  |  |  | 0 |  | e. Countertops |  |  | 0 |  |  |  | 1 |  |  |  | e. Countertops
TBD | 0 | 0 |  |  |  | N |  |  | 6. For Newly Installed Products, Reduce Formaldehyde in Interior Finish – Meet Current CARB Airborne Toxic Control Measure (ATCM) for Composite Wood Formaldehyde Limits by Mandatory Compliance Dates (Whole Building & Elements) (EPA IAP) |  |  | N |  |  | R |  |  |  |  | 6. For Newly Installed Products, Reduce Formaldehyde in Interior Finish – Meet Current CARB Airborne Toxic Control Measure (ATCM) for Composite Wood Formaldehyde Limits by Mandatory Compliance Dates (Whole Building & Elements) (EPA IAP)
[9 empty] | 7. Reduce Formaldehyde in Interior Finish - Exceed Current CARB ATCM for Composite Wood Formaldehyde Limits Prior to Mandatory Compliance Dates | [10 empty] | 7. Reduce Formaldehyde in Interior Finish - Exceed Current CARB ATCM for Composite Wood Formaldehyde Limits Prior to Mandatory Compliance Dates
TBD | 0 | 0 |  |  |  |  | 0 |  | a. Doors |  |  | 0 |  |  |  | 1 |  |  |  | a. Doors
TBD | 0 | 0 |  |  |  |  | 0 |  | b. Cabinets and Countertops |  |  | 0 |  |  |  | 2 |  |  |  | b. Cabinets and Countertops
TBD | 0 | 0 |  |  |  |  | 0 |  | c. Interior Trim and Shelving |  |  | 0 |  |  |  | 1 |  |  |  | c. Interior Trim and Shelving
TBD | 0 | 0 |  |  |  |  | 0 |  | 8. Durable Cabinets |  |  | 0 |  |  |  | 1 |  |  |  | 8. Durable Cabinets
TBD | 0 | 0 |  |  |  |  | 0 |  | 9. At Least 25% of All Newly Supplied Interior Furniture has Environmentally Preferable Attributes |  |  | 0 |  |  |  | 1 |  |  |  | 9. At Least 25% of All Newly Supplied Interior Furniture has Environmentally Preferable Attributes
[9 empty] | Total Available Points in Finishes: 19 |  |  | 0 | [7 empty] | Total Available Points in Finishes: 19
L. FLOORING | [12 empty] | Possible Points | [6 empty] | 0
TBD | 0 | 0 |  |  |  |  | 0 |  | 1. Use Environmentally Preferable Flooring (Minimum 15% of Floor Area) A) FSC-Certified Wood, B) Reclaimed or Refinished, C) Rapidly Renewable, D) Recycled-Content, E) Exposed Concrete, or F) Local. Flooring Adhesives Must Meet SCAQMD Rule 1168 for VOCs |  |  | 0 |  |  |  | 4 |  |  |  | 1. Use Environmentally Preferable Flooring (Minimum 15% of Floor Area) A) FSC-Certified Wood, B) Reclaimed or Refinished, C) Rapidly Renewable, D) Recycled-Content, E) Exposed Concrete, or F) Local. Flooring Adhesives Must Meet SCAQMD Rule 1168 for VOCs
TBD | 0 | 0 |  |  |  | 0 |  |  | 2. Low-Emitting Flooring (EPA IAP) Section 01350, CRI Green Label, Floorscore, etc. |  |  | 0 |  |  | 2 |  |  |  |  | 2. Low-Emitting Flooring (EPA IAP) Section 01350, CRI Green Label, Floorscore, etc.
[9 empty] | Total Available Points in Flooring: 6 |  |  | 0 | [7 empty] | Total Available Points in Flooring: 6
M. APPLIANCES & LIGHTING | [12 empty] | Possible Points | [6 empty] | 0
TBD | 0 | 0 |  |  |  | N |  |  | 1. Electrical Survey (Whole Building) |  |  | N |  |  | R |  |  |  |  | 1. Electrical Survey (Whole Building)
TBD | 0 | 0 |  |  |  |  | 0 |  | 2. Verification of Entire Electrical System |  |  | 0 |  |  |  | 2 |  |  |  | 2. Verification of Entire Electrical System
[9 empty] | 3. ENERGY STAR Appliances | [10 empty] | 3. ENERGY STAR Appliances
TBD | 0 | 0 |  |  | 0 |  |  | 0 | a. Install ENERGY STAR Dishwasher (Must Meet Current Specifications) |  |  | 0 |  | 1 |  |  | 1 |  |  | a. Install ENERGY STAR Dishwasher (Must Meet Current Specifications)
[9 empty] | b. install ENERGY STAR Clothes Washer | [10 empty] | b. install ENERGY STAR Clothes Washer
TBD | 0 | 0 |  |  | 0 |  |  | 0 | i. Meets ENERGY STAR and CEE Tier 2 Requirements (Modified Energy Factor ≥2.0; Water Factor ≤6.0) (Total 3 Points) |  |  | 0 |  | 1 |  |  | 2 |  |  | i. Meets ENERGY STAR and CEE Tier 2 Requirements (Modified Energy Factor ≥2.0; Water Factor ≤6.0) (Total 3 Points)
TBD | 0 | 0 | [5 empty] | 0 | ii Meets ENERGY STAR and CEE Tier 3 Requirements (Modified Energy Factor ≥2.2; Water Factor ≤4.5) (Total 5 Points) |  |  | 0 |  |  |  |  | 2 |  |  | ii Meets ENERGY STAR and CEE Tier 3 Requirements (Modified Energy Factor ≥2.2; Water Factor ≤4.5) (Total 5 Points)
|  | 0 | [6 empty] | c. Install ENERGY STAR Refrigerators in ALL Locations | [10 empty] | c. Install ENERGY STAR Refrigerators in ALL Locations
TBD | 0 | 0 |  |  | 0 |  |  |  | i. ENERGY STAR-Qualified & < 25 Cubic Feet Capacity |  |  | 0 |  | 1 | [5 empty] | i. ENERGY STAR-Qualified & < 25 Cubic Feet Capacity
TBD | 0 | 0 |  |  | 0 |  |  |  | ii. ENERGY STAR-Qualified & < 20 Cubic Feet Capacity |  |  | 0 |  | 1 | [5 empty] | ii. ENERGY STAR-Qualified & < 20 Cubic Feet Capacity
TBD | 0 | 0 |  |  |  |  | 0 |  | 4. Common Laundry Facilities Are Provided for All Occupants |  |  | 0 |  |  |  | 1 |  |  |  | 4. Common Laundry Facilities Are Provided for All Occupants
TBD | 0 | 0 |  |  |  |  | 0 |  | 5. Provide Built-In Recycling Center In Each Residential Unit |  |  | 0 |  |  |  | 1 |  |  |  | 5. Provide Built-In Recycling Center In Each Residential Unit
TBD | 0 | 0 |  |  |  |  | 0 |  | 6. Low-Mercury Lamps (Linear and Compact Fluorescent) |  |  | 0 |  |  |  | 1 |  |  |  | 6. Low-Mercury Lamps (Linear and Compact Fluorescent)
TBD | 0 | 0 |  |  | 0 |  |  |  | 7. Install High-Efficacy Interior Lighting |  |  | 0 |  | 1 | [5 empty] | 7. Install High-Efficacy Interior Lighting
TBD | 0 | 0 |  |  | 0 |  |  |  | 8. Install Lighting Controls (Timers, Dimmers, Occupancy Sensors) |  |  | 0 |  | 1 | [5 empty] | 8. Install Lighting Controls (Timers, Dimmers, Occupancy Sensors)
[9 empty] | Total Available Points in Appliances & Lighting: 16 |  |  | 0 | [7 empty] | Total Available Points in Appliances & Lighting: 16
N. OTHER | [12 empty] | Possible Points | [6 empty] | 0
TBD | 0 | 0 |  | N |  |  |  |  | 1. Incorporate GreenPoint Rated Checklist in Blueprints (Whole Building & Elements) (EPA IAP) |  |  | N | R | [6 empty] | 1. Incorporate GreenPoint Rated Checklist in Blueprints (Whole Building & Elements) (EPA IAP)
|  | 0 | [6 empty] | 2. Operations & Maintenance Manuals and Training (EPA IAP) | [10 empty] | 2. Operations & Maintenance Manuals and Training (EPA IAP)
TBD | 0 | 0 |  |  | N |  |  |  | a. Provide O&M Manual and Orientation to Building Maintenance Staff (Whole Building) |  |  | N |  | R | [5 empty] | a. Provide O&M Manual and Orientation to Building Maintenance Staff (Whole Building)
TBD | 0 | 0 |  |  |  | 0 |  | 0 | b. Train and Certify Upper Management & Maintenance Staff |  |  | 0 |  |  | 1 |  | 1 |  |  | b. Train and Certify Upper Management & Maintenance Staff
TBD | 0 | 0 |  |  | 0 |  |  | 0 | c. Provide Maintenance Manual and Orientation to Occupants |  |  | 0 |  | 1 |  |  | 1 |  |  | c. Provide Maintenance Manual and Orientation to Occupants
TBD | 0 | 0 |  | 0 |  |  |  |  | 3. Residents Are Offered Free or Discounted Transit Passes |  |  | 0 | 2 | [6 empty] | 3. Residents Are Offered Free or Discounted Transit Passes
TBD | 0 | 0 |  | 0 |  |  |  |  | 4. Educational Signage of Project's Green Features |  |  | 0 | 1 | [6 empty] | 4. Educational Signage of Project's Green Features
TBD | 0 | 0 |  | 0 |  |  |  |  | 5. Pre-Construction Kick-Off Meeting with Rater, Contractor and Subs |  |  | 0 | 1 | [6 empty] | 5. Pre-Construction Kick-Off Meeting with Rater, Contractor and Subs
TBD | 0 | 0 |  |  |  | 0 |  |  | 6. Incorporate Unit "Green-Up" Policy |  |  | 0 |  |  | 1 |  |  |  |  | 6. Incorporate Unit "Green-Up" Policy
[9 empty] | 7. Hazardous Materials Testing | [10 empty] | 7. Hazardous Materials Testing
TBD | 0 | 0 |  |  |  | 0 |  |  | a. Lead Testing and Remediation |  |  | 0 |  |  | 1 |  |  |  |  | a. Lead Testing and Remediation
TBD | 0 | 0 |  |  |  | 0 |  |  | b. Asbestos Testing and Remediation |  |  | 0 |  |  | 1 |  |  |  |  | b. Asbestos Testing and Remediation
[9 empty] | Total Available Points in Other: 11 |  |  | 0 | [7 empty] | Total Available Points in Other: 11
O. (Not Used) | [19 empty] | 0
0
P. INNOVATIONS | [12 empty] | Possible Points | [6 empty] | 0
[9 empty] | A. Site | [10 empty] | A. Site
[9 empty] | 1. Stormwater Control: Prescriptive Path (Maximum of 3 Points, Mutually Exclusive With PA2) | [10 empty] | 1. Stormwater Control: Prescriptive Path (Maximum of 3 Points, Mutually Exclusive With PA2)
TBD | 0 | 0 |  | 0 |  |  |  |  | a. Use Permeable Paving for 25% of Driveways, Patios and Walkways |  |  | 0 | 1 | [6 empty] | a. Use Permeable Paving for 25% of Driveways, Patios and Walkways
TBD | 0 | 0 |  | 0 |  |  |  |  | b. Install Bio-Retention and Filtration Features |  |  | 0 | 2 | [6 empty] | b. Install Bio-Retention and Filtration Features
TBD | 0 | 0 |  | 0 |  |  |  |  | c. Route Downspout Through Permeable Landscape |  |  | 0 | 1 | [6 empty] | c. Route Downspout Through Permeable Landscape
TBD | 0 | 0 |  | 0 |  |  |  |  | d. Use Non-Leaching Roofing Materials |  |  | 0 | 1 | [6 empty] | d. Use Non-Leaching Roofing Materials
[9 empty] | 2. Stormwater Control: Performance Path (Mutually Exclusive With PA1): | [10 empty] | 2. Stormwater Control: Performance Path (Mutually Exclusive With PA1):
TBD | 0 | 0 |  | 0 |  |  |  |  | Perform a Soil Percolation Test and Capture and Treat 85% of Total Annual Runoff |  |  | 0 | 3 | [6 empty] | Perform a Soil Percolation Test and Capture and Treat 85% of Total Annual Runoff
[9 empty] | D. Foundation, Structural Frame and Building Envelope | [10 empty] | D. Foundation, Structural Frame and Building Envelope
TBD | 0 | 0 |  |  |  | 0 |  |  | 1. Use Radon Resistant Construction (EPA IAP) |  |  | 0 |  |  | 2 |  |  |  |  | 1. Use Radon Resistant Construction (EPA IAP)
TBD | 0 | 0 |  |  |  |  | 0 |  | 2. Install a Foundation Drainage System (EPA IAP) |  |  | 0 |  |  |  | 2 |  |  |  | 2. Install a Foundation Drainage System (EPA IAP)
TBD | 0 | 0 |  |  |  | 0 |  |  | 3. Moisture Controlled Crawlspace (EPA IAP) |  |  | 0 |  |  | 2 |  |  |  |  | 3. Moisture Controlled Crawlspace (EPA IAP)
[9 empty] | E. Exterior | [10 empty] | E. Exterior
TBD | 0 | 0 |  |  |  |  | 0 |  | 1. Flashing Installation Techniques Specified and Third-Party Verified (EPA IAP) |  |  | 0 |  |  |  | 1 |  |  |  | 1. Flashing Installation Techniques Specified and Third-Party Verified (EPA IAP)
[9 empty] | H. Heating Ventilation and Air Conditioning | [10 empty] | H. Heating Ventilation and Air Conditioning
TBD | 0 | 0 |  |  | 0 |  |  |  | 1. Pressure Relieve the Ductwork System (Mutually exclusive with H3) (EPA IAP) |  |  | 0 |  | 1 |  |  |  |  | Mutually exclusive with H4 | 1. Pressure Relieve the Ductwork System (Mutually exclusive with H3) (EPA IAP)
TBD | 0 | 0 |  |  | 0 |  |  |  | 2. Install High Efficiency HVAC Filter (MERV 6+, Mutually exclusive with H3) (EPA IAP) |  |  | 0 |  | 1 |  |  |  |  | Mutually exclusive with H4 | 2. Install High Efficiency HVAC Filter (MERV 6+, Mutually exclusive with H3) (EPA IAP)
TBD | 0 | 0 |  |  | 0 |  |  |  | 3. Design & Install HVAC System to ACCA Manual J, D, and S (EPA IAP) |  |  | 0 |  | 4 | [5 empty] | 3. Design & Install HVAC System to ACCA Manual J, D, and S (EPA IAP)
[9 empty] | J. Building Performance | [10 empty] | J. Building Performance
TBD | 0 | 0 |  |  | 0 |  |  |  | 1. Obtain EPA Indoor airPlus Certification (Total 39 possible points, not including Title 24 performance; read comment) |  |  | 0 |  | 2 | [5 empty] | 1. Obtain EPA Indoor airPlus Certification (Total 39 possible points, not including Title 24 performance; read comment)
TBD | 0 | 0 |  |  |  | 0 |  |  | 2. Third-Party Testing of Mechanical Ventilation Rates for IAQ Meets ASHRAE 62.2 (EPA IAP) |  |  | 0 |  |  | 2 |  |  |  |  | 2. Third-Party Testing of Mechanical Ventilation Rates for IAQ Meets ASHRAE 62.2 (EPA IAP)
TBD | 0 | 0 |  |  | 0 |  |  |  | 3. ENERGY STAR® New Homes: Multifamily High-Rise Pilot Program |  |  | 0 |  | 1 | [5 empty] | 3. ENERGY STAR® New Homes: Multifamily High-Rise Pilot Program
[9 empty] | K. Finishes | [10 empty] | K. Finishes
TBD | 0 | 0 |  |  |  | 0 | 0 |  | 1. Use Moisture Resistant Material in Wet Areas (EPA IAP) (Kitchens, Bathrooms, Utility Rooms & Basements) |  |  | 0 |  |  | 1 | 1 |  |  |  | 1. Use Moisture Resistant Material in Wet Areas (EPA IAP) (Kitchens, Bathrooms, Utility Rooms & Basements)
[9 empty] | N. Other | [10 empty] | N. Other
[9 empty] | 1. Innovation: List innovative measures that meet green building objectives. Enter in the number of points in each category in the blue cells for a maximum of 4 points for the measure. The "points achieved" column will be automatically fill in based on the sum of the points in each category. Points and measures will be evaluated by Build It Green. | [10 empty] | 1. Innovation: List innovative measures that meet green building objectives. Enter in the number of points in each category in the blue cells for a maximum of 4 points for the measure. The "points achieved" column will be automatically fill in based on the sum of the points in each category. Points and measures will be evaluated by Build It Green.
TBD | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | Innovation: Enter up to 4 Points in blue cells at right. Enter description here |  |  | 0 | [7 empty] | Innovation: Enter up to 4 Points in blue cells at right. Enter description here
TBD | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | Innovation: Enter up to 4 Points in blue cells at right. Enter description here |  |  | 0 | [7 empty] | Innovation: Enter up to 4 Points in blue cells at right. Enter description here
TBD | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | Innovation: Enter up to 4 Points in blue cells at right. Enter description here |  |  | 0 | [7 empty] | Innovation: Enter up to 4 Points in blue cells at right. Enter description here
TBD | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | Innovation: Enter up to 4 Points in blue cells at right. Enter description here |  |  | 0 | [7 empty] | Innovation: Enter up to 4 Points in blue cells at right. Enter description here
TBD | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | Innovation: Enter up to 4 Points in blue cells at right. Enter description here |  |  | 0 | [7 empty] | Innovation: Enter up to 4 Points in blue cells at right. Enter description here
[9 empty] | Total Available Points in Innovation: 19+ |  |  | 0 | [7 empty] | Total Available Points in Innovation: 19+
Summary
Total Available Points | [11 empty] | 286.5 | 56 | 83.5 | 36.5 | 59 | 51.5
Minimum Points Required (Whole Building) | [11 empty] | 50 | 3 | 20 | 5 | 6 | 3
Minimum Points Required (Elements) | [11 empty] | 25 | 2 | 8 | 2 | 2 | 2
|  |  | 0 | 0 | 0 | 0 | 0 | 0 | Total Points Achieved |  |  | 0 | 0 | 0 | 0 | 0 | 0
Project has not yet met the recommended minimum requirements for Whole Building
- Total Project Score of At Least 50 Points
- Required measures:
-A2a: Divert All Cardboard, Concrete, Asphalt, & Metals
-D1: Building Envelope Survey and Correction
-D2: Foundation Survey and Correction
-G1: Plumbing Survey and Correction
-G2a: All Fixtures Meet Federal Energy Policy Act
-H1: HVAC System Survey
-H2: Combustion Safety Backdraft Test
-H3: Carbon Monoxide Testing and Correction
-J3: Meet Energy Budget for Building Based on Year
-K6: Meet CARB ATCM for Composite Wood Formaldehyde Limits
-M1: Electrical Survey
-N1: Incorporate GreenPoint Rated Checklist in Blueprints
-N2a: Provide O&M Manual to Building Maintenance Staff
- Minimum points in specific categories:
-Community (3 points)
-Energy (20 points)
-IAQ/Health (5 points)
-Resources (6 points)
-Water (3 points)
Project has not yet met the recommended minimum requirements for Elements
- Total Project Score of At Least 25 Points
- Required measures:
-A2a: Divert All Cardboard, Concrete, Asphalt, & Metals
-G1: Plumbing Survey
-H1: HVAC System Survey
-H2: Combustion Safety Backdraft Test
-J1: Complete Energy Survey
-K6: Meet CARB ATCM for Composite Wood Formaldehyde Limits
-N1: Incorporate GreenPoint Rated Checklist in Blueprints
- Minimum points in specific categories:
-Community (2 points)
-Energy (8 points)
-IAQ/Health (2 points)
-Resources (2 points)
-Water (2 points)
Note on J290: Qualifying for EPA Indoor Air Plus Certification includes the following standard checklist measures: A3; G3; H9; H10; J6a&b; K3a,b&c; K6; N1; N2a,b&c, and Innovations: PD1; PD2; PD3; PE1; PH1; PH2; PH3; PJ2; PK1. You MUST choose "Yes" or "No" on all of these measures to get credit for measure PJ1. Projects meeting measure PJ1 should automatically meet the requirements of these other measures; when PJ1 is chosen, these measures will be highlighted in blue for your convenience.
SPELL CHECK